## Proximity sensors comparison
HC-SR04 vs Sharp IR GP2Y0A02YK0F vs VL53L0X					English tutorials
Calculate average and standard deviation					Test and calibrate SharpIR sensor
Calcul Moyenne et écart type					https://diyprojects.io/proximity-sensor-a02yk0-test-calibration-sharp-gp2y0a02yk0f-asian-clone/
192	212	24			Comparative analysis. Demo project, measure the fill level of a water tank
193	213	27			https://diyprojects.io/hc-sr04-ultrasound-vs-sharp-gp2y0a02yk0f-ir-vl53l0x-laser-solutions-choose-distance-measurement-arduino-raspberrypi/
192	212	24
193	212	26			Tutoriels en français
193	212	25			Test et étalonnage du Sharp IR
192	212	26			https://projetsdiy.fr/test-et-etalonnage-du-capteur-de-proximite-a02yk0-clone-asiatique-du-sharp-gp2y0a02yk0f/
197	212	28			Etude comparative. Projet de démo, mesurer le niveau de remplissage d’un réservoir d’eau
193	212	26			https://projetsdiy.fr/comparaison-hc-sr04-ultrasons-sharp-gp2y0a02yk0f-ir-vl53l0x-laser-quelle-solutions-choisir-mesure-distance-arduino-raspberry-pi/
193	212	25
193	212	24
1,45	0,32	1,35
193,1	212,1	25,5

Results – résultats
Distance (mm)	HC-SR04	Sharp A02YK0 (Zsharp lib)	Sharp A02YK0 (calibrated)	VL53L0X	Delta HC-SR04	Delta IR	Delta IR Cal	Delta VL53L0X	SD HC-SR04	SD IR	SD IR Cal	SD VL53L0X
200	195,3	201,4	212,0	211,8	-4,7	1,4	12,0	11,8	1,25	0,84	0,32	1,81
300	288,8	271,8	283,4	307,7	-11,2	-28,2	-16,6	7,7	1,69	2,10	1,84	3,16
400	393,3	377,8	384,4	415,5	-6,7	-22,2	-15,6	15,5	3,53	5,03	7,52	3,03
500	506,9	441,6	481,7	515,1	6,9	-58,4	-18,3	15,1	6,61	7,78	11,81	5,93
600	574,8	598,7	606,3	610,7	-25,2	-1,3	6,3	10,7	2,70	7,18	28,02	7,23
700	669,0	813,8	721,2	729,0	-31,0	113,8	21,2	29,0	3,16	34,88	44,27	5,96
800	761,2	1 041,1	805,9	801,0	-38,8	241,1	5,9	1,0	4,52	12,30	59,35	11,24
900	860,2	1 010,8	954,0	858,6	-39,8	110,8	54,0	-41,4	1,69	104,10	92,49	24,39
1000	952,1	1 294,6	1 090,5	977,3	-47,9	294,6	90,5	-22,7	6,61	39,22	133,90	17,99
1100	1 052,2	1 661,4	1 131,6	1 080,3	-47,8	561,4	31,6	-19,7	7,19	39,84	128,11	19,79
1200	1 148,1	1 468,5	1 196,0	1 149,3	-51,9	268,5	-4,0	-50,7	7,09	59,07	127,00	50,11
1300	1 241,5	2 050,3	1 221,7	1 221,8	-58,5	750,3	-78,3	-78,2	4,48	64,35	31,91	39,89
1400	1 339,5	1 907,3	1 385,0	1 347,3	-60,5	507,3	-15,0	-52,7	6,22	35,51	123,49	42,06
1500	1 438,1	1 778,4	1 412,3	1 371,9	-61,9	278,4	-87,7	-128,1	6,49	22,40	84,00	45,45

Graphs – graphiques
HC-SR04
Distance (mm)
Distance mesurée - Measured distance (mm)
Sharp A02YK0
with ZSharp Arduino library
Distance (mm)
Distance mesurée - Measured distance(mm)
VL53L0L
Laser ToF
Distance (mm)
Distance mesurée - Measured distance (mm)
Sharp A02YK0 re-calibrated
With ZSharp library
Distance (mm)
Distance mesurée - Measured distance (mm)
HC-SR04 vs Sharp GP2Y0A02YK0F vs VL53L0X
Sharp re-calibrated
Distance (mm)
Distance mesurée - Measured distance (mm)

## Sharp GP2Y0A02YK0F calibration
Sharp GP2Y0A02YK0F calibration
Etalonnage du Sharp GP2Y0A02YK0F
Distance (mm)	Signal	Eval	Delta	Err
1500	70	1 795	295,3	19,7%
1400	80	1 566	166,0	11,9%
1300	90	1 388	88,2	6,8%
1200	95	1 313	113,4	9,5%
1100	112	1 110	9,8	0,9%
1000	116	1 071	70,7	7,1%
900	128	968	68,1	7,6%
800	163	756	-44,1	-5,5%
700	184	668	-32,3	-4,6%
600	215	569	-30,6	-5,1%
500	247	494	-6,0	-1,2%
400	325	373	-26,9	-6,7%
300	378	320	19,6	6,5%
200	558	215	14,6	7,3%

Sharp GP2Y0A02YK0F calibration under 200mm (prof of test)
Etalonnage du Sharp GP2Y0A02YK0F en dessous de 200mm (test de faisabilité)
Signal	Distance (mm)
656	120
650	110
625	100
582	90
510	80
484	70
470	60
440	50
400	40
337	30
265	20
Sharp GP2Y0A02YK0F calibration
Distance (mm)
Signal
Sharp GP2Y0A02YK0F calibration
< 200mm
Distance (mm)
Signal